## About
BFoHPbF BAU Fraction of Heat Provided by Fuel
Source: | CIEEDAC
2017
Innovative Energy Facilities Database, District Energy Inventory
http://cieedacdb.rem.sfu.ca/district-energy-inventory/
Note:
We do not have future projections, so we assume the present fractions
remain constant throughout the model run.
Solar thermal and geothermal types do not use fuel. The model uses
this variable to determine overall fuel consumption by multiplying by
total heat demand, so these fuel-less types must be omitted.
Therefore, the total fraction will add to less than 1.
We group waste and biomass, as no waste subscript is available explicitly.
We treat plants of unknown fuel type as a weighted average of plants
with known fuel types.

## CIEEDAC data
Units | [29 empty] | MW | MW | MWh | MWh |  |  | % | % |  | % | hours | [5 empty] | GJ |  | GJ |  | GJ | ktCO2 | ktCH4 | ktN2O |  | m2 | m |  | MW | MWh | MW | MWh | MW | MWh
id | name | chp | de | re | owner_1 | owner_2 | city | province | latitude | longitude | status | year_commission | year_decommission | year_reported | naics_code | npri_code | ghgrp_code | municipality_type | user_community | user_institution | user_commercial | user_industrial | user_government | user_academic | user_residential | user_military | source_1 | source_2 | number_units | elec_capacity | thermal_capacity | elec_production | thermal_production | equip_type | equip_year | energy_self | energy_sold | grid_connected | average_operation | hours_of_operation | user_elec | user_elec_naics | user_thermal | user_thermal_naics | primary_type | primary_quantity | secondary_type | secondary_quantity | tertiary_type | tertiary_quantity | ghg_co2 | ghg_ch4 | ghg_n2o | de_number_buildings | de_area | de_length | de_thermal_metering | de_hs_capacity | de_hs_production | de_hw_capacity | de_hw_production | de_cw_capacity | de_cw_production
100016 | Calgary Downtown District Energy Centre | 1 | 1 | 0 | ENMAX |  | Calgary | AB | 51.05 | -114.07 | operating | 2010 |  | 2014 | 221 |  |  | large |  | 1 | 1 |  | 1 | 1 | 1 |  | CIEEDAC DE Survey 2014 |  | 1 | 60 | 55 |  | 12600 | [11 empty] | NG | [8 empty] | 12 | 650558 | 3400 | 1 |  |  | 55 | 12600
100017 | Foothills Medical Centre | 1 | 1 | 0 |  |  | Calgary | AB | 51.051 | -114.069 | operating | 1970 |  |  | 6221 | [11 empty] | http://resources.carbontalks.ca/guides/CarbonTalks-DiscussionGuide-DistrictEnergy.pdf
100024 | University of Calgary | 1 | 1 | 0 | University of Calgary |  | Calgary | AB | 51.058 | -114.062 | operating | 1970 |  | 2014 | 6113 |  |  | large | [5 empty] | 1 |  |  | CIEEDAC DE Survey 2014 |  | 1 | 13 | 189.0325 | 76211 | 296891.9 | [6 empty] | 5964 |  |  |  |  | NG | 891935 | ELE | [6 empty] | 100 | 700000 | 8000 | 1 |  |  | 153.864 | 250000 | 35.1685 | 46891.9
100035 | CFB Cold Lake (4 Wing) | 0 | 1 | 0 |  |  | Cold Lake | AB | 54.464 | -110.173 | operating
100045 | Boyle Renaissance District Energy System | 0 | 1 | 0 |  |  | Edmonton | AB | 53.545 | -113.49 | operating | 2013 | [14 empty] | http://www.metiscapital.ca/Portals/0/News/255439-February%202014_selected-pages.pdf | http://www.metiscapital.ca/News.aspx |  |  | 0.38 | [13 empty] | NG
100047 | Edmonton International Airport | 0 | 1 | 0 |  |  | Edmonton | AB | 53.547 | -113.488 | operating
100050 | University of Alberta DES | 1 | 1 | 0 | University of Alberta |  | Edmonton | AB | 53.55 | -113.485 | operating | 1950 |  | 2014 | 6113 |  |  | medium |  | 1 |  |  | 1 | 1 | 1 |  | CIEEDAC DE Survey 2015 |  | 1 | 13.3 | 735 | 67000 | 848000 | [11 empty] | NG | 3677857 | [7 empty] | 105 | 1734000 | 10000 | 1 | 590 | 622000 |  |  | 145 | 226000
100081 | University of Lethbridge | 0 | 1 | 0 | University of Lethbridge |  | Lethbridge | AB | 49.694 | -112.841 | operating | 1970 |  | 2014 |  |  |  | medium | [5 empty] | 1 |  |  | CIEEDAC DE Survey 2014 |  |  |  | 20.0241 | [13 empty] | NG |  | ELE | [6 empty] | 30 | 185000 | 4000 | 0 |  |  | 11.232 |  | 8.7921
100092 | Drake Landing Company | 0 | 1 | 0 | Okotoks | ATCO Gas | Okotoks | AB | 50.725 | -113.975 | operating | 2007 |  | 2014 |  |  |  | small | [6 empty] | 1 |  | CIEEDAC DE Survey 2014 | https://www.dlsc.ca/DLSC_Brochure_e.pdf |  |  | 1.5 | [13 empty] | SOLTH |  | NG | [6 empty] | 52 | 9293.68 | 1500 | 1
100125 | Strathcona County Community Energy Centre | 0 | 1 | 0 | Strathcona County |  | Sherwood Park | AB | 53.541 | -113.296 | operating | 2007 |  | 2014 |  |  |  | medium | 1 | 1 |  |  | 1 |  | 1 |  | CIEEDAC DE Survey 2015 |  |  |  | 9 |  | 9784 | [11 empty] | NG | [8 empty] | 9 | 76460 | 1600 | 1 |  |  | 9 | 9784
100163 | BCIT Burnaby Campus | 0 | 1 | 1 |  |  | Burnaby | BC | 49.25 | -122.98 | operating | 1963 | [14 empty] | https://commons.bcit.ca/factorfour/energy/on-site-renewable-heat | https://commons.bcit.ca/factorfour/files/2013/01/District-Heating-Prefeasibility-Study-22.pdf |  |  | 12 | [13 empty] | NG
100166 | UniverCity Neighbourhood Utility Service | 0 | 1 | 0 | Corix Utilities Inc. |  | Burnaby | BC | 49.253 | -122.977 | operating | 2011 |  | 2014 |  |  |  | small |  |  | 1 |  |  |  | 1 |  | CIEEDAC DE Survey 2015 |  |  |  | 2.3 |  | 4182 | [11 empty] | NG |  | BIOM
100168 | Village of Burns Lake Community Energy System | 0 | 1 | 0 |  |  | Burns Lake | BC | 54.233 | -125.764 | operating
100187 | 19 Wing Comox CHP | 1 | 1 | 0 | Canada Government |  | Comox | BC | 49.674 | -124.928 | operating | 1995 |  | 2014 |  |  |  | small | [7 empty] | 1 | CIEEDAC DE Survey 2014 | [17 empty] | NG | [8 empty] | 30 |  | 25000 | 0
100192 | St. Mary's Indian Band District Energy Heating System | 0 | 1 | 0 |  |  | Cranbrook | BC | 49.513 | -115.769 | operating | 2016 | [14 empty] | https://news.gov.bc.ca/stories/twelve-first-nations-benefit-from-clean-energy-funding | http://www.aqam.net/sites/default/files/2016%20annual%20report_0.pdf | [16 empty] | BIOM
100198 | Fink Enderby District Energy | 0 | 1 | 1 | Fink Machine Inc. |  | Enderby | BC | 50.551 | -119.14 | operating | 2011 |  | 2014 |  |  |  | small | 1 | 1 | 1 | 1 |  |  | 1 |  | CIEEDAC DE Survey 2015 |  |  |  | 0.54 |  | 1418 | [11 empty] | BIOM | [8 empty] | 10 | 6828 | 1500 | 1 |  |  | 0.54 | 1418
100199 | CFB Esquimalt | 0 | 1 | 0 |  |  | Esquimalt | BC | 48.436 | -123.411 | operating
100202 | Gibsons District Energy Utility | 0 | 1 | 1 | Gibsons |  | Gibsons | BC | 49.397 | -123.515 | operating | 2009 |  | 2014 | 221 |  |  | medium |  | 1 |  |  |  |  | 1 |  | CIEEDAC DE Survey 2014 | [17 empty] | GEO | [8 empty] | 30 | 4500 | 800 | 0
100217 | Sun Rivers Resort - Belmonte | 0 | 1 | 1 | Corix Utilities Inc. |  | Kamloops | BC | 50.675 | -120.327 | operating | 2013 |  | 2014 | 721 |  |  | rural | [6 empty] | 1 |  | CIEEDAC DE Survey 2015 | http://www.toolkit.bc.ca/tool/district-energy-systems |  |  | 1.485 | [22 empty] | 89 | 0 | 1300 |  |  |  | 0.781 | 0 | 0.704 | 0
100222 | Sun Rivers Resort - Talasa | 0 | 1 | 1 | Corix Utilities Inc. |  | Kamloops | BC | 50.68 | -120.322 | operating | 2012 |  | 2014 | 721 |  |  | rural |  |  | 1 |  |  |  | 1 |  | CIEEDAC DE Survey 2015 | http://www.toolkit.bc.ca/tool/district-energy-systems |  |  | 0.63
100230 | Okanagan College | 1 | 1 | 1 | Okanagan College |  | Kelowna | BC | 49.894 | -119.49 | operating | 1970 |  | 2014 |  |  |  | large | [5 empty] | 1 |  |  | CIEEDAC DE Survey 2014 |  | 793 | 0.194 | 2.9 | 72 | 1790.28 | [11 empty] | WST |  | SOLPV | [6 empty] | 10 | 60000 | 1000 | 0 |  |  | 2.9 | 1790.28
100236 | UBCO District Energy System | 0 | 1 | 1 | University of British Columbia |  | Kelowna | BC | 49.9 | -119.484 | operating | 2011 |  | 2014 | 611 |  |  | large | [5 empty] | 1 |  |  | CIEEDAC DE Survey 2015 |  |  |  | 14 |  | 5749 | [11 empty] | GEO |  | NG | 13694.4 | ELE | 7387.2 |  |  |  | 11 | 85000 | 5000 | 0 |  |  | 6 | 1710 | 8 | 4039
100283 | Royal Columbian Hospital | 0 | 1 | 0 |  |  | New Westminster | BC | 49.207 | -122.91 | planned | 2019 | [14 empty] | https://www.newwestcity.ca/planning-building-and-development/projects-on-the-go/articles/2910.php
100285 | Lions Gate Hospital | 0 | 1 | 0 |  |  | North Vancouver | BC | 49.321 | -123.071 | operating
100286 | Lonsdale Energy Corp | 0 | 1 | 0 | North Vancouver |  | North Vancouver | BC | 49.322 | -123.07 | operating | 2004 |  | 2014 |  |  |  | medium | 1 | 1 | 1 |  | 1 | 1 |  |  | CIEEDAC DE Survey 2015 | http://www.cnv.org/city-services/lonsdale-energy |  |  | 17.5 |  | 31619
100311 | Village of Port Clements Biomass District Heating System | 0 | 1 | 1 | Port Clements |  | Port Clements | BC | 53.689 | -132.185 | operating | 2015 |  | 2015 |  |  |  | rural | 1 | 1 |  |  | 1 | 1 |  |  | CIEEDAC DE Survey 2015 |  |  |  | 0.1 | [13 empty] | BIOM |  | HFO | 1547.2 | [5 empty] | 3 | 1600 | 5000 | 1 |  |  | 0.1 | 0 | 0 | 0
100321 | BC New Hope Recovery Society | 0 | 1 | 1 | Baldy Hughes |  | Prince George | BC | 53.917 | -122.75 | operating | 2009 |  | 2014 |  |  |  | rural | 1 | 1 | 1 | 1 |  | 1 | 1 |  | CIEEDAC DE Survey 2014 |  |  |  | 0.73269 | [13 empty] | BIOM | [8 empty] | 9 | 3717.47 | 548.613 | 0 |  |  | 0.73269
100323 | City of Prince George District Energy System | 0 | 1 | 1 | Prince George |  | Prince George | BC | 53.919 | -122.748 | operating | 2012 |  | 2015 |  |  |  | medium | 1 | 1 | 1 |  | 1 |  |  |  | CIEEDAC DE Survey 2015 |  |  |  | 5 |  | 5833.3333 | [11 empty] | BIOM | 21500 | NG | 550 | [5 empty] | 8 | 32000 | 6000 | 1 |  |  | 5 | 5833.3333
100325 | UNBC Prince George Campus | 0 | 1 | 1 | University of Northern British Columbia |  | Prince George | BC | 53.921 | -122.746 | operating | 1994 |  | 2014 |  |  |  | medium | [5 empty] | 1 |  |  | CIEEDAC DE Survey 2015 |  |  |  | 30.0693 |  | 18876.07 | [11 empty] | BIOM | 109872 | NG | 10490 | [5 empty] | 10 | 65123 | 1130 | 0 |  |  | 23.739 | 16444.4 | 6.3303 | 2431.67
100326 | University Hospital of Northern BC | 0 | 1 | 0 |  |  | Prince George | BC | 53.922 | -122.745 | operating
100335 | Revelstoke Community Energy Corporation | 1 | 1 | 1 | Revelstoke |  | Revelstoke | BC | 51 | -118.194 | operating | 2005 |  | 2014 |  |  |  | small | 1 |  |  | 1 | 1 |  | 1 |  | CIEEDAC DE Survey 2014 |  |  |  | 3.25 |  | 9992 | [11 empty] | BIOM | [8 empty] | 10 | 23000 | 3000 | 1 |  | 6459 | 3.25 | 3533
100339 | Alexandra District Energy Utility | 0 | 1 | 1 | Richmond |  | Richmond | BC | 49.168 | -123.133 | operating | 2012 |  | 2014 | 814 |  |  | large | 1 | 1 |  |  |  |  | 1 |  | CIEEDAC DE Survey 2015 |  |  |  | 8.6 |  | 7560 | [11 empty] | GEO |  | NG
100346 | Oval Village District Energy Utility | 0 | 1 | 0 | Richmond |  | Richmond | BC | 49.175 | -123.126 | operating | 2015 |  | 2015 |  |  |  | large | [6 empty] | 1 |  | CIEEDAC DE Survey 2015 | http://www.luluislandenergy.ca/oval-village-district-energy-utility/ |  |  | 16.3 |  | 2420
100388 | Surrey Memorial Hospital | 0 | 1 | 0 |  |  | Surrey | BC | 49.111 | -122.794 | operating | [15 empty] | http://www.questcanada.org/sites/default/files/publications/ICES%20Progress%20Report%20-%20Province%20of%20BC.pdf | [17 empty] | NG
100392 | Surrey City Energy | 0 | 1 | 0 | Surrey |  | Surrey | BC | 49.115 | -122.79 | operating | 2015 |  | 2015 |  |  |  | large |  |  | 1 |  |  |  | 1 |  | CIEEDAC DE Survey 2015 |  |  |  | 5.5 |  | 1479 | [11 empty] | NG | 6390
100397 | Village of Telkwa Biomass District Energy System | 0 | 1 | 0 |  |  | Telkwa | BC | 54.696 | -127.047 | operating | 2013 | [14 empty] | http://www.toolkit.bc.ca/Success-Story/Telkwa%E2%80%99s-Deep-Collaboration-Mini-Biomass-District-Heating-System |  |  |  | 0.3 | [13 empty] | BIOM |  | NG
100402 | Tla-o-qui-aht First Nation District Energy System | 0 | 1 | 1 | Tla-o-qui-aht First Nation |  | Tofino | BC | 49.155 | -125.905 | operating | 2011 |  | 2014 | 814 |  |  | rural | [6 empty] | 1 |  | CIEEDAC DE Survey 2014 | [5 empty] | 641 | [11 empty] | GEO |  | ELE | [6 empty] | 45 | 5270 | 6000 | 0 |  |  |  | 641
100418 | BC Children and Women's Hospital | 0 | 1 | 0 |  |  | Vancouver | BC | 49.285 | -123.119 | planned | 2018 | [14 empty] | https://bcgreencare.ca/system/files/resource-files/2015_PHSA_SEMP_0.pdf |  |  |  | 14 | [13 empty] | NG
100420 | Creative Energy | 0 | 1 | 0 | Creative Energy |  | Vancouver | BC | 49.287 | -123.117 | operating | 1970 |  | 2014 |  |  |  | large | 1 | 1 | 1 |  |  | 1 | 1 |  | CIEEDAC DE Survey 2014 |  |  |  | 237 |  | 350000 | [11 empty] | NG | [8 empty] | 220 | 3624000 | 13700 | 1 | 237 | 350000
100431 | Mole Hill Community Housing Society | 0 | 1 | 0 | Mole Hill Community Housing Society |  | Vancouver | BC | 49.297 | -123.107 | operating | 2002 |  | 2014 |  |  |  | large | [8 empty] | CIEEDAC DE Survey 2015 | [17 empty] | GEO | [8 empty] | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
100433 | River District Energy | 0 | 1 | 0 | Parklane |  | Vancouver | BC | 49.299 | -123.105 | operating | 2012 |  | 2014 |  |  |  | large | [6 empty] | 1 |  | CIEEDAC DE Survey 2014 |  |  |  | 3 | [13 empty] | NG | [8 empty] | 2 |  | 500 | 0 |  |  | 3
100434 | SEFC Neighbourhood Energy Utility | 0 | 1 | 1 | Vancouver |  | Vancouver | BC | 49.3 | -123.104 | operating | 2010 |  | 2014 |  |  |  | large | 1 |  | 1 |  |  |  | 1 |  | CIEEDAC DE Survey 2015 |  |  |  | 20 |  | 26703 | [11 empty] | WST | 65703.6 | NG | 40845.6 | [5 empty] | 24 | 358000 | 2500 | 0 |  |  | 20 | 26703
100437 | TELUS Garden Building District Energy System | 0 | 1 | 0 |  |  | Vancouver | BC | 49.303 | -123.101 | operating | 2015 | [14 empty] | https://www.energy-manager.ca/news/vancouvers-telus-garden-receives-leed-platinum-certification-2605 | http://www.vancouversun.com/entertainment/movie-guide/Telus+Garden+opens+doors+employees/11166932/story.html | [16 empty] | HR
100443 | Vancouver General Hospital | 0 | 1 | 0 |  |  | Vancouver | BC | 49.309 | -123.095 | operating
100448 | UBC Academic District Energy System | 0 | 1 | 1 | University of British Columbia |  | Vancouver | BC | 49.314 | -123.09 | operating | 1930 |  | 2014 |  |  |  | medium | 1 | 1 |  |  |  | 1 | 1 |  | CIEEDAC DE Survey 2014 |  |  |  | 123 |  | 165000 | [11 empty] | BIOM |  | NG | [6 empty] | 140 | 869000 | 15000 | 1 | 123 | 165000
100455 | Dockside Green Energy System | 0 | 1 | 0 | Dockside Green Energy LLP |  | Victoria | BC | 48.429 | -123.365 | operating | 2009 |  | 2014 |  |  |  | large |  |  | 1 |  |  |  | 1 |  | CIEEDAC DE Survey 2015 | http://docksidegreenenergy.com/the_energy_system.html |  |  | 62.4239 |  | 122318
100459 | Royal Jubilee Hospital | 0 | 1 | 0 |  |  | Victoria | BC | 48.433 | -123.361 | operating
100462 | University of Victoria | 0 | 1 | 0 |  |  | Victoria | BC | 48.436 | -123.358 | operating | 1968 | [14 empty] | http://www.uvic.ca/home/about/campus-news/2016+district-energy-plant+ring | [17 empty] | NG
100463 | Victoria General Hospital | 0 | 1 | 0 |  |  | Victoria | BC | 48.437 | -123.357 | operating
100464 | Westhills District Energy System | 0 | 1 | 1 | Sustainable Services Ltd. |  | Victoria | BC | 48.438 | -123.356 | operating | 2011 |  | 2014 | 814 |  |  | small | 1 | [5 empty] | 1 |  | CIEEDAC DE Survey 2014 |  |  |  | 3.95 |  | 1734 | [11 empty] | GEO | [8 empty] | 302 | 67404 | 4590 | 1 |  |  | 2.26 | 1317 | 1.69 | 417
100473 | RMOW WWTP DES | 0 | 1 | 1 | Whistler |  | Whistler | BC | 50.12 | -122.953 | operating | 2009 |  | 2014 |  |  |  | small | 1 |  |  |  | 1 |  | 1 |  | CIEEDAC DE Survey 2014 | [17 empty] | GEO |  | NG | [6 empty] | 68 | 42600 | 3000
100482 | Avonlea Hutterite Colony | 0 | 1 | 0 |  |  | Avonlea | MB | 49.606 | -97.287 | operating | 2013 | [14 empty] | https://www.hydro.mb.ca/your_business/profiles/profiles_avonlea_hutterite_colony.pdf | [17 empty] | GEO
100485 | Brandon University District Energy System | 0 | 1 | 0 | Brandon University |  | Brandon | MB | 49.849 | -99.949 | operating | 1985 |  | 2014 |  |  |  | medium | 1 |  | 1 |  |  | 1 | 1 |  | CIEEDAC DE Survey 2015 |  |  |  | 3.5635 |  | 4743.964 | [11 empty] | NG | 45938108.6 | ELE | 34011.234 | LFO | 38.68 |  |  |  | 14 | 59095.6 | 5000 | 0 | 0.75 | 4238.61 |  |  | 2.8135 | 505.354
100496 | Ritchot District Energy - Ile Des Chenes | 0 | 1 | 1 | Ile Des Chenes |  | Ile Des Chenes | MB | 49.709 | -96.988 | operating | 2010 |  | 2014 |  |  |  | small | 1 | 1 | [6 empty] | CIEEDAC DE Survey 2015 | [17 empty] | GEO |  | ELE | [6 empty] | 3 | 50000 | 1000 | 1
100507 | Providence District Heating | 0 | 1 | 1 | Providence University College |  | Otterburne | MB | 49.494 | -97.033 | operating | 2011 |  | 2014 |  |  |  | rural |  |  | 1 |  |  | 1 | 1 |  | CIEEDAC DE Survey 2014 |  |  |  | 1.4654 | [13 empty] | BIOM | [8 empty] | 3 | 13762.4 | 600 | 0 |  |  | 1.4654
100514 | CFB Shilo | 0 | 1 | 0 |  |  | Shilo | MB | 49.806 | -99.64 | operating
100525 | Wawanesa Geothermal Residential Subdivision | 0 | 1 | 1 |  |  | Wawanesa | MB | 49.596 | -99.687 | operating | [15 empty] | http://www.questcanada.org/maps/wawanesa-geothermal-residential-subdivision | [17 empty] | GEO
100526 | Stanley Business Centre | 0 | 1 | 1 |  |  | Winkler | MB | 49.18 | -97.939 | operating | 2013 | [14 empty] | http://www.gov.mb.ca/ia/energy/geothermal/release.html | [17 empty] | GEO
100528 | Assiniboine Park Zoo | 0 | 1 | 1 |  |  | Winnipeg | MB | 49.895 | -97.138 | operating | 2014 | [14 empty] | http://www.winnipegsun.com/2015/02/24/zoos-geothermal-system-keeps-polar-bears-cool-guests-warm | [17 empty] | GEO
100534 | DND 17 Wing Winnipeg | 0 | 1 | 0 | Department of National Defense |  | Winnipeg | MB | 49.901 | -97.132 | operating | 1950 |  | 2014 |  |  |  | large | 1 | 1 |  |  | 1 |  | 1 | 1 | CIEEDAC DE Survey 2015 |  |  |  | 32 |  | 52000 | [11 empty] | NG | [8 empty] | 25 |  | 3000 | 0 | 32 | 52000
100538 | McPhillips Common District Geothermal System | 0 | 1 | 1 |  |  | Winnipeg | MB | 49.904 | -97.129 | operating | 2008 | [14 empty] | https://www.gov.mb.ca/jec/energy/geothermal/fp_article3.html | [17 empty] | GEO
100541 | Seasons of Tuxedo/IKEA | 0 | 1 | 1 |  |  | Winnipeg | MB | 49.907 | -97.126 | operating | 2013 | [14 empty] | http://news.gov.mb.ca/news/index.html?archive=2012-11-01&item=15753 | [17 empty] | GEO
100544 | The Forks Market | 0 | 1 | 1 |  |  | Winnipeg | MB | 49.909 | -97.124 | operating | 2010 | [14 empty] | https://www.gov.mb.ca/jec/energy/geothermal/fp_article2.html | [17 empty] | GEO
100545 | The Yards at Fort Rouge | 0 | 1 | 1 |  |  | Winnipeg | MB | 49.91 | -97.123 | planned | 2017 | [14 empty] | http://fortrougeyards.com/about-the-development/ | [17 empty] | GEO
100546 | University of Manitoba | 0 | 1 | 0 | University of Manitoba |  | Winnipeg | MB | 49.911 | -97.122 | operating | 1910 |  | 2014 |  |  |  | large | 1 | 1 | 1 |  | 1 | 1 | 1 |  | CIEEDAC DE Survey 2014 |  |  |  | 158.6783 |  | 136860 | [11 empty] | NG | [8 empty] | 70 | 576208 | 5000 | 1 | 118 | 128773 | 5.8615 | 8087 | 34.8168
100547 | University of Winnipeg - Ashdown Hall Central Heating Plant | 0 | 1 | 1 | University of Winnipeg |  | Winnipeg | MB | 49.912 | -97.121 | operating | 1955 |  | 2014 |  |  |  | large | 1 |  |  |  |  | 1 |  |  | CIEEDAC DE Survey 2015 | [17 empty] | ELE |  | LFO | [6 empty] | 9 | 1067787 |  | 0 |  |  | 0 | 0 | 0 | 0
100570 | UNB Central Heating Plant | 0 | 1 | 0 | University of New Brunswick |  | Fredericton | NB | 45.965 | -66.642 | operating | 1970 |  | 2014 |  |  |  | medium | 1 | 1 |  |  | 1 | 1 | 1 |  | CIEEDAC DE Survey 2015 | http://blogs.unb.ca/newsroom/2010/08/24/unbs-central-heating-plant-reduces-atmospheric-emissions-by-nearly-one-third/ |  |  | 74 |  | 78500
100571 | CFB Gagetown | 0 | 1 | 0 |  |  | Gagetown | NB | 45.781 | -66.153 | operating | 1970
100577 | University of New Brunswick Central Heating Plant | 0 | 1 | 0 |  |  | Moncton | NB | 46.09 | -64.776 | operating | 2010
100605 | CFB Goose Bay (5 Wing) | 0 | 1 | 0 |  |  | Goose Bay | NL | 53.302 | -60.326 | operating | 2009
100651 | St. Francis Xavier University | 0 | 1 | 0 |  |  | Antigonish | NS | 45.624 | -61.992 | operating | 2012
100658 | CFB Halifax - Bedford | 0 | 1 | 0 |  |  | Bedford | NS | 44.725 | -63.691 | operating | 1957
100669 | CFB Halifax - Dockyard Annex | 0 | 1 | 0 |  |  | Dartmouth | NS | 44.665 | -63.568 | operating | 2013
100670 | CFB Halifax - Shearwater (12 Wing) | 0 | 1 | 0 |  |  | Dartmouth | NS | 44.666 | -63.567 | operating
100686 | CFB Greenwood (14 Wing) | 0 | 1 | 0 |  |  | Greenwood | NS | 44.972 | -64.934 | operating | 2015
100688 | Alderney 5 | 0 | 1 | 1 | Halifax |  | Halifax | NS | 44.649 | -63.575 | operating | 2010 |  | 2014 |  |  |  | large |  | 1 | 1 |  | 1 |  |  |  | CIEEDAC DE Survey 2014 |  |  |  | 7.2096 |  | 3472.22 | [11 empty] | GEO |  | NG | [6 empty] | 5 | 30669.1 | 150 | 0 |  |  | 4.3961 | 3472.22 | 2.8135
100689 | CFB Halifax - Dockyard | 0 | 1 | 0 |  |  | Halifax | NS | 44.65 | -63.574 | operating | 2010
100690 | CFB Halifax - Stadacona | 0 | 1 | 0 |  |  | Halifax | NS | 44.651 | -63.573 | operating
100691 | CFB Halifax - Windsor Park | 0 | 1 | 0 |  |  | Halifax | NS | 44.652 | -63.572 | operating
100692 | Dalhousie University - Halifax Campus | 0 | 1 | 0 | Dalhousie University |  | Halifax | NS | 44.653 | -63.571 | operating | 1970 |  | 2014 |  |  |  | large |  | 1 |  |  |  | 1 | 1 |  | CIEEDAC DE Survey 2015 |  |  |  | 57 |  | 152000 | [11 empty] | NG | 575916 | HFO | 20187.5 | [5 empty] | 80 | 429000 | 3000 | 1 | 47 | 152000 |  |  | 10
100693 | Mount Saint Vincent University | 0 | 1 | 0 |  |  | Halifax | NS | 44.654 | -63.57 | operating | 1970 | [14 empty] | National District Energy Survey (2008) | [17 empty] | HFO
100694 | Queen Elizabeth II Hospital | 0 | 1 | 0 |  |  | Halifax | NS | 44.655 | -63.569 | operating
100695 | Saint Mary's University | 0 | 1 | 0 | Saint Mary's University |  | Halifax | NS | 44.656 | -63.568 | operating | 1970 |  | 2014 |  |  |  | large | [5 empty] | 1 |  |  | CIEEDAC DE Survey 2014 |  |  |  | 16.2043 |  | 16846.247 | [11 empty] | NG | [8 empty] | 12 | 100137 | 610 | 0 | 9.37 | 11970 | 4.9 | 3990 | 1.9343 | 886.247
100738 | Université Sainte-Anne | 0 | 1 | 1 | Université Sainte-Anne |  | Pointe-de-l'Eglise | NS | 44.339 | -66.114 | operating | 2010 |  | 2014 |  |  |  | small | 1 |  | 1 |  |  | 1 |  |  | CIEEDAC DE Survey 2014 |  |  |  | 1.758 |  | 5625.83 | [11 empty] | BIOM |  | SOLTH |  | WIND |  |  |  |  | 17 | 35767 | 350 | 0 |  |  | 1.758 | 5625.83
100752 | Cape Breton University | 0 | 1 | 1 | Cape Breton University |  | Sydney | NS | 46.137 | -60.194 | operating | 1970 |  | 2014 |  |  |  | large | [5 empty] | 1 |  |  | CIEEDAC DE Survey 2014 |  |  |  | 8.2061 |  | 8792.24 | [11 empty] | BIOM | [8 empty] | 8 | 53438.7 | 1000 | 0 |  |  | 8.2061 | 8792.24
100755 | Dalhousie University - Agricultural Campus | 1 | 1 | 0 |  |  | Truro | NS | 45.366 | -63.287 | operating | 2012 | [16 empty] | 1 | 1 | [14 empty] | BIOM
100765 | Acadia University | 0 | 1 | 0 |  |  | Wolfville | NS | 45.092 | -64.36 | operating | 2014 | [14 empty] | http://sustainability.acadiau.ca/energy-and-climate.html | [17 empty] | NG
100771 | Behchoko Biomass (EMES) | 0 | 1 | 1 | Northwest Territories |  | Behchoko | NT | 62.823 | -115.988 | operating | 2014 |  | 2014 |  |  |  | small | 1 |  |  |  |  | 1 | 1 |  | CIEEDAC DE Survey 2015 |  |  |  | 0.54 |  | 497.8 | [11 empty] | BIOM | 1792 | LFO | 706.84 | [5 empty] | 3 | 3600 | 800 | 1 |  |  | 0.54 | 497.8
100773 | Fort Liard | 0 | 1 | 0 |  |  | Fort Liard | NT | 60.24 | -123.473 | operating | 2012 | [14 empty] | https://www.eia.gov.nt.ca/sites/eia/files/northern_vision_1.pdf | http://www.enr.gov.nt.ca/sites/enr/files/building_a_regulatory_framework_for_geothermal_in_the_nwt.pdf |  | 1 | 1 | [13 empty] | GEO
100774 | Aadrii Biomass District Heating Project | 0 | 1 | 0 |  |  | Fort McPherson | NT | 67.436 | -134.881 | operating | 1997 | [14 empty] | http://www.fvbenergy.com/projects/aadrii-district-energy-system/ | https://www.bullfrogpower.com/wp-content/uploads/2015/09/Fort_McPherson-Biomass.pdf |  |  | 0.085 | [13 empty] | BIOM |  | LFO
100775 | Fort Simpson | 0 | 1 | 0 |  |  | Fort Simpson | NT | 61.863 | -121.353 | operating
100777 | Fort Smith District Biomass | 0 | 1 | 1 | Northwest Territories |  | Fort Smith | NT | 60.006 | -111.885 | operating | 2010 |  | 2014 |  |  |  | small | 1 |  |  |  |  | 1 |  |  | CIEEDAC DE Survey 2015 |  |  |  | 0.75 |  | 4000 | [11 empty] | BIOM | 4874.52 | LFO | 9529.2 | [5 empty] | 3 | 8000 | 200 | 1 |  |  | 0.75 | 4000
100778 | Hay River Schools District Biomass | 0 | 1 | 1 | Northwest Territories |  | Hay River | NT | 60.816 | -115.785 | operating | 2010 |  | 2014 |  |  |  | small | [5 empty] | 1 |  |  | CIEEDAC DE Survey 2015 |  |  |  | 0.9 |  | 2770.2778 | [11 empty] | BIOM | 5194 | LFO | 4778.88 | [5 empty] | 4 | 14130 | 1000 | 0 |  |  | 0.9 | 2770.2778
100779 | Inuvik | 0 | 1 | 0 |  |  | Inuvik | NT | 68.361 | -133.723 | operating | 2010
100785 | Yellowknife Biomass Boiler District Energy System | 0 | 1 | 0 |  |  | Yellowknife | NT | 62.454 | -114.372 | operating | 1965 | [14 empty] | https://fcm.ca/Documents/case-studies/PCP/2013/Yellowknifes_Biomass_Boiler_District_Energy_System_EN.pdf | [17 empty] | BIOM |  | LFO
100787 | Yellowknife GNWT Office Buildings | 0 | 1 | 1 | Northwest Territories |  | Yellowknife | NT | 62.455 | -114.371 | operating | 2014 |  | 2014 |  |  |  | small |  |  | 1 | [5 empty] | CIEEDAC DE Survey 2015 | [5 empty] | 2581.3889 | [11 empty] | BIOM | 2954 | LFO | 6339.04 | [5 empty] | 3 | 15000 | 50 | 0 |  |  | 0 | 2581.3889 | 0 | 0
100790 | Arviat DHS | 1 | 1 | 0 | QEC |  | Arviat | NU | 61.108 | -94.062 | operating | 2001 |  | 2014 | 2211 |  |  | small | [5 empty] | 1 |  |  | CIEEDAC DE Survey 2015 |  | 4 | 3.11 |  | 5932 | 2500 | [11 empty] | LFO | [8 empty] | 4 |  | 2000 | 1 |  |  |  | 2500
100792 | Iqaluit DHS | 1 | 1 | 0 | QEC |  | Iqaluit | NU | 63.748 | -68.516 | operating | 2006 |  | 2014 | 221 |  |  | small |  | 1 |  |  | 1 | 1 |  |  | CIEEDAC DE Survey 2015 |  | 6 | 21.1 |  |  | 4800 | [11 empty] | LFO | 386800 | [7 empty] | 3 |  | 1000 | 1 |  |  |  | 4800
100793 | Rankin Inlet DHS | 1 | 1 | 0 | QEC |  | Rankin Inlet | NU | 62.808 | -92.085 | operating | 2006 |  | 2014 | 221 |  |  | small | 1 | 1 | 1 |  | 1 | 1 | 1 |  | CIEEDAC DE Survey 2015 |  | 4 | 6.2 |  |  | 8450 | [11 empty] | LFO | [8 empty] | 12 |  | 3000 | 1 |  |  |  | 8450
100810 | Ajax | 0 | 1 | 0 |  |  | Ajax | ON | 43.855 | -79.016 | operating | 2015 | [14 empty] | http://www.ajax.ca/en/doingbusinessinajax/Index-Energy-Steam-Plant.asp |  |  | 25 | [14 empty] | BIOM
100853 | St. Andrew's College | 0 | 1 | 0 |  |  | Aurora | ON | 44.014 | -79.442 | operating | 1925 | [14 empty] | Naional DE Survey (2008) | [17 empty] | NG
100983 | CFB Borden (16 Wing) | 0 | 1 | 0 |  |  | Borden | ON | 44.283 | -79.894 | operating | 1900
101350 | Cornwall District Energy System | 1 | 1 | 0 |  |  | Cornwall | ON | 45.021 | -74.73 | operating | 1995 |  |  | 2211 | [11 empty] | http://www.questcanada.org/maps/cornwall-district-energy-system |  | 3 | 5 | 11.15 | 14500 | 18455 | [11 empty] | NG
101500 | Kizhaagimitay Nipi Community Utility (aka Grassy Narrows) | 0 | 1 | 0 |  |  | Grassy Narrows | ON | 50.151 | -94.013 | operating | 1997 | [14 empty] | http://www.questcanada.org/maps/grassy-narrows-district-heating-system | [17 empty] | BIOM
101504 | Geraldton District Heating System | 0 | 1 | 0 |  |  | Greenstone | ON | 49.767 | -87.283 | operating | 1997 | [14 empty] | http://www.biomassinnovation.ca/pdf/Case%20Studies/CaseStudy_GeraldtonDH_ON.pdf |  |  |  | 3.2 | [13 empty] | BIOM |  | NG
101531 | Galt District Energy System | 0 | 1 | 0 |  |  | Guelph | ON | 43.567 | -80.226 | operating | 2013 | [14 empty] | http://www.envida.ca/en/developingSustainableEnergy/Galt-District-Energy-System.asp | http://www.envida.ca/en/developingSustainableEnergy/resources/DISTRICT_ENERGY/Envida_District_Energy_Centre_in_Sleeman_Centre_Backgrounder_-_FINAL-A.pdf |  |  | 5.04 | [13 empty] | NG |  | ELE | [13 empty] | 3.81 |  | 1.23
101535 | Hanlon Creek District Energy System | 0 | 1 | 0 |  |  | Guelph | ON | 43.571 | -80.222 | operating | 2014 | [14 empty] | http://www.envida.ca/en/developingSustainableEnergy/Hanlon-Creek-Business-Park-District-Energy-System.asp | http://www.ellisdon.com/project/hanlon-creek-district-energy-temporary-thermal-plant/
101607 | Hamilton Community Energy | 1 | 1 | 0 | Hamilton |  | Hamilton | ON | 43.275 | -79.852 | operating | 2002 |  | 2014 | 2211 |  |  | large | 1 | 1 | 1 |  | 1 | 1 | 1 |  | http://www.hamiltonce.com/abouthce.html | http://www.toromontpowersystems.com/electric-power/products/chp/powerprofiles/hamilton-community-energy | [16 empty] | NG | 1709194 | HR | [6 empty] | 11 | 185874 | 5000 | 1 |  |  | 12 | 22605 | 0.70337
101610 | Harbor Health Services Inc. (HHSI) | 0 | 1 | 0 |  |  | Hamilton | ON | 43.277 | -79.85 | operating | 2003 | [14 empty] | National DE Survey (2008) | [17 empty] | NG
101613 | McMaster Innovation Park | 0 | 1 | 0 |  |  | Hamilton | ON | 43.28 | -79.847 | operating | 2010 | [14 empty] | https://magazine.appro.org/news/ontario-news/5007-1487812504-mcmaster-district-energy-project-a-leading-example-of-innovation.html | [17 empty] | SOLTH |  | GEO |  | NG
101731 | CFB Kingston | 0 | 1 | 0 |  |  | Kingston | ON | 44.235 | -76.482 | operating | 1954 | [14 empty] | http://www.ceaa.gc.ca/052/details-eng.cfm?pid=5462 | http://s3.amazonaws.com/zanran_storage/cdea.ca/ContentPages/43936118.pdf | [16 empty] | NG |  | LFO
101743 | Queen's University | 1 | 1 | 0 | Queen's University |  | Kingston | ON | 44.247 | -76.47 | operating | 1930 |  | 2014 |  |  |  | medium | 1 | 1 |  |  |  | 1 |  |  | CIEEDAC DE Survey 2014 |  | 2 | 15 | 202 | 400 | 70500 | [11 empty] | NG | [8 empty] | 100 | 7000 | 10000 | 1 | 202 | 70500
101857 | London District Energy | 1 | 1 | 0 | Veresen Inc. |  | London | ON | 43.008 | -81.222 | operating | 1880 |  | 2014 | 221 |  |  | large | 1 | 1 | 1 |  | 1 |  |  |  | https://magazine.appro.org/news/ontario-news/3843-london-district-energy-expanding-.html | https://www.london.ca/residents/Environment/Energy/Documents/Community%20Energy%20Plan.pdf | [16 empty] | NG | [8 empty] | 50 |  | 13000 | 1 | 76 | 138676 |  |  | 9 | 19561
101933 | Cornell Centre | 1 | 1 | 0 | Markham |  | Markham | ON | 43.884 | -79.309 | operating | 2012 |  | 2014 | 221 |  |  | large | 1 | 1 | 1 | [5 empty] | CIEEDAC DE Survey 2014 |  | 2 | 4 | 30 |  | 28000 | [11 empty] | NG |  | ELE | [6 empty] | 6 | 93687 | 3000 | 1 | 1 | 4000 | 15 | 20000 | 14 | 4000
101934 | Markham Centre | 1 | 1 | 0 | Markham |  | Markham | ON | 43.885 | -79.308 | operating | 2000 |  | 2014 | 2213 |  |  | large | 1 | 1 | 1 |  | 1 | 1 | 1 |  | CIEEDAC DE Survey 2014 |  | 3 | 8.5 | 67.5753 | 10500 | 94600 |  |  | 50 | 50 | 1 | [6 empty] | NG |  | ELE | [6 empty] | 32 | 634480 | 22000 | 1 |  |  | 31 | 42500 | 36.5753 | 52100
102014 | GTAA Cogen Plant | 1 | 1 | 0 |  |  | Mississauga | ON | 43.616 | -79.617 | operating | 2006 |  |  | 488 | [11 empty] | https://en.wikipedia.org/wiki/GTAA_Cogeneration_Plant | http://www.powermag.com/gtaa-cogeneration-complex-mississauga-ontario-canada/
102144 | C100 - Central Plant | 0 | 1 | 0 | Algonquin College |  | Nepean | ON | 45.335 | -75.724 | operating | 1970 |  | 2014 |  |  |  | large | [5 empty] | 1 |  |  | CIEEDAC DE Survey 2014 |  |  |  | 11.254 |  | 12551.94 | [11 empty] | NG |  | ELE | [6 empty] | 6 | 67460.8 | 182.871 | 0 | 0.35169 | 1346.11 | 7.0338 | 9733.61 | 3.8685 | 1472.22
102249 | Durham College | 1 | 1 | 0 |  |  | Oshawa | ON | 43.898 | -78.865 | operating | 2008 |  |  | 611 | [11 empty] | http://home.smsenergy-engineering.com/project-page.php?id=2#p4 | https://magazine.appro.org/?option=com_content&view=article&id=2537&redirected=1 | 1 | 2.3 | [14 empty] | NG
102271 | Carleton University | 0 | 1 | 0 |  |  | Ottawa | ON | 45.437 | -75.682 | operating
102277 | Cliff Street and National Research Council DE | 0 | 1 | 0 | Public Works and Government Services Canada |  | Ottawa | ON | 45.443 | -75.676 | operating | 1910 |  | 2014 |  |  |  | large |  | 1 | 1 |  | 1 |  |  | 1 | CIEEDAC DE Survey 2015 |  |  |  | 297 |  | 196994 | [11 empty] | NG | 809804.48 | ELE | 84669.354
102278 | Confederation Heights District Energy System | 0 | 1 | 0 | Public Works and Government Services Canada |  | Ottawa | ON | 45.444 | -75.675 | operating | 1950 |  | 2014 |  |  |  | large | 1 |  | 1 |  | 1 |  |  |  | CIEEDAC DE Survey 2015 |  |  |  | 64.4 |  | 45085 | [11 empty] | NG | 136076.24 | ELE | 20534.4 | [5 empty] | 11 | 221834 | 2400 | 1 |  |  | 46.9 | 19877 | 17.5 | 25208
102296 | NRCan Bells Corners Complex | 0 | 1 | 0 |  |  | Ottawa | ON | 45.462 | -75.657 | operating
102306 | PWGSC Heating and Cooling Plants | 0 | 1 | 0 | Canada Government |  | Ottawa | ON | 45.472 | -75.647 | operating | 1910 |  | 2014 |  |  |  | large |  | 1 | 1 | [5 empty] | CIEEDAC DE Survey 2014 |  |  |  | 467 |  | 535927 | [11 empty] | NG | [8 empty] | 85 | 2100000 | 15000 | 1 | 295 | 362694 |  |  | 172 | 173233
102309 | RCMP District Energy System | 0 | 1 | 0 | Canada Government |  | Ottawa | ON | 45.475 | -75.644 | operating | 1970 |  | 2014 |  |  |  | large |  |  |  |  | 1 |  |  |  | CIEEDAC DE Survey 2014 |  |  |  | 21.6 |  | 17970 | [11 empty] | NG | [8 empty] | 4 | 75900 | 620 | 1 | 15.6 | 12160 |  |  | 6 | 5810
102310 | Rideau Hall Central Heating Plant | 0 | 1 | 0 | National Capital Commission |  | Ottawa | ON | 45.476 | -75.643 | operating | 1972 |  | 2014 |  |  |  | large |  | 1 |  | 1 | 1 |  |  |  | CIEEDAC DE Survey 2015
102324 | Transalta Ottawa - Ottawa Health Science Centre (OHSC) | 1 | 1 | 0 |  |  | Ottawa | ON | 45.49 | -75.629 | operating | 1992 |  |  | 2211 | [11 empty] | http://www.opg.com/darlington-refurbishment/Documents/IntrinsikReport_GHG_OntarioPower.pdf | http://cleanboiler.org/files/Resources/Workshop/WS_Klein_EnvCan.PDF | [16 empty] | NG
102325 | Tunney's Pasture District Energy System | 0 | 1 | 0 | Public Works and Government Services Canada |  | Ottawa | ON | 45.491 | -75.628 | operating | 1950 |  | 2014 |  |  |  | large |  |  | 1 |  | 1 |  |  |  | CIEEDAC DE Survey 2015 |  |  |  | 134.5 |  | 85681 | [11 empty] | NG | 336929.876 | ELE | 25882.92 | [5 empty] | 18 | 363146 | 2000 | 1 | 93.8 | 62338 |  |  | 40.7 | 23343
102326 | University of Ottawa Power Plant | 1 | 1 | 0 | University of Ottawa |  | Ottawa | ON | 45.492 | -75.627 | operating | 1970 |  | 2014 | 6113 |  |  | large | 1 |  |  |  |  | 1 | 1 |  | CIEEDAC DE Survey 2015 |  | 1 | 1.2 | 96.4687 | 189.9 | 82397 |  |  | 13.2 | 0 | 0 | [6 empty] | NG | 250519374.88 | LFO | 45736.86 | [5 empty] | 33 | 360711 | 2300 | 1 | 73.2687 | 59631 |  |  | 23.2 | 22766
102329 | Beaver Barracks | 0 | 1 | 1 | Corix Utilities Inc. |  | Ottawa | ON | 45.495 | -75.624 | operating | 2010 |  | 2014 | 814 |  |  | large | [6 empty] | 1 |  | CIEEDAC DE Survey 2014 |  |  |  | 3.7034 | [13 empty] | GEO |  | NG | [6 empty] | 5 | 23234.2 | 152.393 | 0 |  |  | 3 |  | 0.70337
102365 | CFB Petawawa | 1 | 1 | 0 |  |  | Petawawa | ON | 45.898 | -77.283 | operating | 2000 |  |  | 911 | [11 empty] | Manfred Klein |  | 1 | 3.5 | 11.011 | 23542 | 74061 |  |  | 67.5 | 0 | 1 | [6 empty] | NG | 10672058 | LFO | 773403
102568 | Brock University | 1 | 1 | 0 |  |  | St. Catharines | ON | 43.162 | -79.244 | operating | 1994 |  |  | 611 | [11 empty] | http://cleanboiler.org/files/Resources/Workshop/WS_Klein_EnvCan.PDF | http://www.ec.gc.ca/inrp-npri/donnees-data/index.cfm?do=facility_substance_summary&lang=en&opt_npri_id=0000011472&opt_report_year=2009#location
102641 | Sudbury District Energy - Hospital Plant | 1 | 1 | 0 |  |  | Sudbury | ON | 46.525 | -80.95 | operating | 2001 |  |  | 622 | [11 empty] | Toromont website |  | 2 | 6.9 | 7.886 | 10500 | 12000 |  |  | 17 | 43 | 1 | [6 empty] | NG | 97500
102644 | Sudbury District Energy - Downtown | 1 | 1 | 0 | Sudbury District Energy Ltd. |  | Sudbury | ON | 46.528 | -80.947 | operating | 2000 |  | 2014 | 221 |  |  | large | 1 | 1 | 1 |  | 1 |  | 1 |  | http://www.toromontpowersystems.com/electric-power/products/chp/powerprofiles/sudbury-district-energy | http://www.toromontpowersystems.com/electric-power/products/chp/powerprofiles/sudbury-district-energy | [25 empty] | 7 |  | 4000 | 1 |  |  | 4.55 | 12400 | 1.5474
102749 | Baycrest Centre | 0 | 1 | 0 |  |  | Toronto | ON | 43.713 | -79.323 | operating | 1990 | [14 empty] | National DE Survey (2008)
102786 | Enwave Energy Corporation | 0 | 1 | 0 | Enwave Energy Corporation |  | Toronto | ON | 43.75 | -79.286 | operating | 1970 |  | 2014 |  |  |  | large | 1 | 1 | 1 |  | 1 | 1 | 1 |  | CIEEDAC DE Survey 2015 | http://enwavetoronto.com/facilities.html |  |  | 828.595 |  | 1293000
102898 | Regent Park Community Energy System | 0 | 1 | 0 |  |  | Toronto | ON | 43.862 | -79.174 | operating | 2009 | [14 empty] | http://www.fvbenergy.com/projects/regent-park-community-energy-system/ | http://www.nrcan.gc.ca/sites/www.nrcan.gc.ca/files/canmetenergy/files/pubs/RegentPark(ENG).pdf |  |  | 19.26 | [13 empty] | NG | [12 empty] | 11 |  |  |  | 8.26
102962 | University of Toronto - St. George | 1 | 1 | 0 | University of Toronto |  | Toronto | ON | 43.926 | -79.11 | operating | 1912 |  | 2014 | 6113 |  |  | large | 1 | 1 | 1 |  |  | 1 |  |  | http://www.fs.utoronto.ca/wp-content/uploads/2015/12/centennialarticle_university_of_toronto_districtenergysystem.pdf | http://www.fs.utoronto.ca/wp-content/uploads/2015/12/centennialarticle_university_of_toronto_districtenergysystem.pdf
102963 | University of Toronto - Mississauga | 0 | 1 | 0 |  |  | Toronto | ON | 43.927 | -79.109 | operating | [33 empty] | NG
102975 | York University | 1 | 1 | 0 |  |  | Toronto | ON | 43.939 | -79.097 | operating | 1965 |  |  | 6113 | [11 empty] | ECCC |  | 1 | 10 | 7.03 |  | 58600 |  |  |  | 0 | 0 | [6 empty] | NG
102998 | CFB Trenton (8 Wing) | 0 | 1 | 0 |  |  | Trenton | ON | 44.102 | -77.575 | operating
103131 | District Energy Windsor | 0 | 1 | 0 | Windsor |  | Windsor | ON | 42.343 | -83.008 | operating | 1996 |  | 2014 |  |  |  | large | 1 | 1 | 1 |  | 1 |  |  |  | CIEEDAC DE Survey 2015 | http://www.opg.com/darlington-refurbishment/Documents/IntrinsikReport_GHG_OntarioPower.pdf |  | 34 | 50 |  | 79100 | [11 empty] | NG |  | ELE | [6 empty] | 10 | 1700000 | 1900 | 1 | 19.2 | 11900 | 19.6 | 31500 | 20.74 | 35700
103191 | Windsor University Cogeneration Plant | 1 | 1 | 0 |  |  | Windsor | ON | 42.4 | -82.951 | operating | 1993 |  |  | 6113 | [11 empty] | http://www1.uwindsor.ca/facilityservices/energy-conversion-centre-heating-and-cooling | http://slthermal.com/pdf/Windsor,%20Ontario,%20Canada.pdf | [29 empty] | 4.3229 |  |  |  | 16.8809
103230 | PEI District Energy System | 1 | 1 | 1 | Veresen Inc. |  | Charlottetown | PE | 46.239 | -63.13 | operating | 1985 |  | 2014 | 221 |  |  | medium | 1 | 1 | 1 |  | 1 | 1 |  |  | http://www.biomasscenter.org/resource-library/case-studies/community-district-energy/city-of-charlottetown | http://www.biomasscenter.org/resource-library/case-studies/community-district-energy/city-of-charlottetown | [25 empty] | 150 |  | 19000 | 1 | 74 | 50000 | 74 | 98000
103245 | CFB Bagotville (3 Wing) | 0 | 1 | 0 |  |  | Bagotville | QC | 48.337 | -71 | operating
103305 | Centrale de Chauffage Urbain Montréal | 0 | 1 | 0 | Centrale de Chauffage Urbain Montréal |  | Montreal | QC | 45.503 | -73.566 | operating | 1950 |  | 2014 |  |  |  | large |  |  | 1 |  |  | 1 | 1 |  | CIEEDAC DE Survey 2014 |  |  |  | 168.5 |  | 202300 | [11 empty] | NG | [8 empty] | 20 | 1800000 | 4000 | 1 | 145 | 180000 | 14 | 9000 | 9.5 | 13300
103306 | CFB Montreal | 0 | 1 | 0 |  |  | Montreal | QC | 45.504 | -73.565 | operating
103317 | Oujé-Bougoumou Public Works | 0 | 1 | 0 |  |  | Oujé-Bougoumou | QC | 49.926 | -74.818 | operating | 1993 | [14 empty] | http://www.fvbenergy.com/projects/ouje-bougoumou-district-energy-system/ |  |  |  | 3.81 | [13 empty] | BIOM |  | LFO
103320 | SSQ Immobilier Cite Verte | 0 | 1 | 1 | SSQ Immobilier Cite Verte |  | Quebec City | QC | 46.814 | -71.208 | operating | 2011 |  | 2014 |  |  |  | large | 1 |  | 1 |  | 1 |  | 1 |  | CIEEDAC DE Survey 2015 |  |  |  | 5 |  | 1410.28 | [11 empty] | BIOM | [8 empty] | 45 | 93000 | 1100 | 1 |  |  | 5 | 1410.28
103460 | Senneterre Thermal Park | 0 | 1 | 0 |  |  | Senneterre | QC | 48.391 | -77.241 | operating | [15 empty] | http://www.questcanada.org/maps/senneterre-thermal-park |  |  | 13.6 | 21 | [13 empty] | BIOM
103473 | CFB Valcartier | 0 | 1 | 0 |  |  | Valcartier | QC | 46.938 | -71.47 | operating | 1999 | [14 empty] | http://smethportpa.org/pdf/UES_Handbook_Final_21-01-08.pdf | District energy national survey report (2008) |  | 3.4 | [14 empty] | NG
103498 | University of Regina District Energy | 0 | 1 | 0 | University of Regina District Energy |  | Regina | SK | 50.447 | -104.617 | operating | 1970 |  | 2014 |  |  |  | small | [5 empty] | 1 |  |  | CIEEDAC DE Survey 2015 |  |  |  | 70 |  | 64478.3 | [11 empty] | NG | 237423 | [7 empty] | 18 | 232342 | 5000 | 1 | 53 | 51506.5 |  |  | 17 | 12971.8
103502 | University of Saskatchewan Heating Plant | 0 | 1 | 0 | University of Saskatchewan |  | Saskatoon | SK | 52.135 | -106.668 | operating | 1950 |  | 2014 |  |  |  | large | 1 | 1 | 1 | 1 |  | 1 | 1 |  | CIEEDAC DE Survey 2015 |  |  |  | 190.86 |  | 302326.7 | [11 empty] | NG | 1025099354.0933 | HFO | 10223.43 | [5 empty] | 59 | 681227 | 9600 | 1 | 168 | 266821 |  |  | 22.86 | 35505.7
103509 | Burwash Landing first nations | 0 | 1 | 0 |  |  | Burwash Landing | YT | 61.354 | -138.994 | operating | 1998 | [14 empty] | http://www.questcanada.org/maps/kluane-first-nation-district-heating-system | http://www.energy.gov.yk.ca/239.html |  |  | 0.29 | [13 empty] | BIOM
103510 | Dawson City Infrastructure Heating Project | 0 | 1 | 1 | British Columbia Government |  | Dawson City | YT | 64.06 | -139.432 | operating | 2012 |  | 2014 |  |  |  | small |  |  |  | 1 |  |  |  |  | CIEEDAC DE Survey 2014 |  |  |  | 0.75 | [13 empty] | BIOM | [8 empty] | 2 |  | 500 | 0 |  |  | 0.75
103511 | Mayo | 0 | 1 | 0 |  |  | Mayo | YT | 63.594 | -135.896 | operating
103513 | ATCO Electric Yukon | 1 | 1 | 0 | ATCO |  | Watson Lake | YT | 60.063 | -128.711 | operating | 1999 |  | 2014 |  |  |  | small | 1 |  |  |  |  | 1 |  |  | CIEEDAC DE Survey 2015 |  | 6 | 5.85 |  | 15000 | [12 empty] | LFO | 135380 | [7 empty] | 4 |  | 1000
103561 | Purdy's Wharf Development | 0 | 1 | 0 |  |  | Halifax | NS | 44.657 | -63.567 | operating | 1985 | [14 empty] | https://sfu-primo.hosted.exlibrisgroup.com/primo-explore/fulldisplay?vid=SFUL&search_scope=default_scope&tab=default_tab&query=any,contains,district%20energy%20a%20national%20survey%20report&facet=rtype,exact,books&docid=01SFUL_ALMA51228148430003611&context=L&adaptor=Local%20Search%20Engine | https://beta.theglobeandmail.com/report-on-business/an-answer-for-the-heat-cool-clear-water/article18167644/?ref=http://www.theglobeandmail.com& | [16 empty] | HR | [8 empty] | 3 | 65000 | 140

## Calculations
Fuel Abbreviation | Meaning | Total thermal capacity
NG | natural gas | 1008.4366
SOLTH | solar thermal | 1.5
BIOM | biomass | 0
GEO | geothermal | 0
WST | waste | 0
HR | heat recovery | 0
ELE | electricity (heat pump) | 0
LFO | light fuel oil | 0
unspecified | unspecified | 0
Reallocated Into Modeled Fuel Types
coal | 0
natural gas | 1008.4366
biomass | 0
petroleum diesel | 0
fuelless (omitted) | 1.5
Total | 1009.9366

## BFoHPbF
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
electricity | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
coal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
natural gas | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851 | 0.99851
biomass | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
petroleum diesel | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
heat | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0