## About
GBEtPR Grid Battery Energy to Power Ratio
Source: | Bloomberg
2017
New Energy Outlook 2017
Data Viewer version 1.06 from November 2017
About
This variable is a factor that relates the capacity of grid batteries
(in MW or GW) to the energy they store (in MWh or GWh).

## Battery_Storage_Capacity
BNEF - NEO forecast
Installed Capacity (GW) | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Small-scale batteries | 0.015624 | 0.035005 | 0.097302 | 0.2639 | 0.61862 | 1.0904 | 1.5875 | 2.2998 | 3.2942 | 4.8197 | 6.6599 | 8.8456 | 11.537 | 14.3484 | 17.806 | 22.0188 | 27.2764 | 33.5725 | 41.1031 | 49.89 | 59.9072 | 71.4673 | 85.5884 | 102.1082 | 120.947 | 142.4122 | 166.765 | 193.8059 | 223.7105
Utility-scale batteries | 1.2514 | 1.3182 | 1.3622 | 1.7115 | 2.7306 | 4.0048 | 5.2906 | 6.8295 | 8.7805 | 10.0828 | 12.1073 | 13.8805 | 18.8759 | 20.533 | 22.3236 | 23.4129 | 26.2008 | 27.0751 | 32.2711 | 34.5522 | 47.3644 | 63.7455 | 81.9353 | 107.8309 | 120.9796 | 139.5616 | 149.8792 | 169.6248 | 180.4098
Total | 1.267 | 1.3532 | 1.4595 | 1.9754 | 3.3492 | 5.0952 | 6.8781 | 9.1293 | 12.0747 | 14.9025 | 18.7672 | 22.7261 | 30.4128 | 34.8814 | 40.1296 | 45.4316 | 53.4772 | 60.6477 | 73.3742 | 84.4422 | 107.2716 | 135.2128 | 167.5237 | 209.9391 | 241.9266 | 281.9738 | 316.6442 | 363.4307 | 404.1203
Installed Capacity (GWh) | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Small-scale batteries | 0.03906 | 0.087512 | 0.24326 | 0.65976 | 1.5465 | 2.7261 | 3.9687 | 5.7495 | 8.2355 | 12.0492 | 16.6497 | 22.1139 | 28.8424 | 35.871 | 44.5151 | 55.0469 | 68.1911 | 83.9313 | 102.7578 | 124.725 | 149.768 | 178.6682 | 213.9709 | 255.2704 | 302.3674 | 356.0306 | 416.9125 | 484.5148 | 559.2763
Utility-scale batteries | 2.8782 | 3.0319 | 3.1331 | 3.9364 | 6.2803 | 9.211 | 12.1684 | 15.7079 | 20.1951 | 23.1904 | 27.8468 | 31.9252 | 43.4145 | 47.2259 | 51.3443 | 53.8496 | 60.2617 | 62.2728 | 74.2235 | 79.4701 | 108.9381 | 146.6146 | 188.4512 | 248.0111 | 278.2532 | 320.9916 | 344.7223 | 390.1371 | 414.9425
Total | 2.9173 | 3.1194 | 3.3763 | 4.5962 | 7.8268 | 11.937 | 16.1371 | 21.4574 | 28.4307 | 35.2396 | 44.4965 | 54.0391 | 72.2569 | 83.0968 | 95.8593 | 108.8965 | 128.4528 | 146.2041 | 176.9813 | 204.1951 | 258.7061 | 325.2828 | 402.4221 | 503.2815 | 580.6206 | 677.0222 | 761.6347 | 874.6519 | 974.2189
BNEF - Indirectly Sourced Data
https://cleantechnica.com/2017/11/24/bnef-predicts-explosive-energy-storage-growth-sides-meter/
Installed Capacity (GW) | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Behind the Meter | No Data | No Data | No Data | No Data | 1 | 2 | 2 | 3 | 5 | 7 | 9 | 12 | 15 | 20 | 26 | 34 | 45 | 56 | 69
System-Level | No Data | No Data | No Data | No Data | 2 | 3 | 5 | 6 | 8 | 10 | 12 | 15 | 18 | 21 | 26 | 31 | 36 | 42 | 55
Total |  |  |  |  | 3 | 5 | 7 | 9 | 13 | 17 | 21 | 27 | 33 | 41 | 52 | 65 | 81 | 98 | 124
https://about.bnef.com/blog/global-storage-market-double-six-times-2030/
Installed Capacity (GWh) | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Total | No Data | No Data | No Data | No Data | 7.379 | 12.2984 | 17.2177 | 22.1371 | 31.9758 | 41.8145 | 51.6532 | 66.4113 | 81.1694 | 100.8468 | 127.9032 | 159.879 | 199.2339 | 241.0484 | 305
IRENA
http://www.irena.org/publications/2017/Oct/Electricity-storage-and-renewables-costs-and-markets
Pages 105 and 106
|  | Low Estimates |  | High Estimates
Installed Capacity (GWh) | 2017 | 2030 (Reference Case) | 2030 Doubling Case | 2030 (Reference Case) | 2030 Doubling Case
Utility Scale |  | 44 | 79.64 | 73.48 | 185.24
Behind the Meter |  | 56 | 101.36 | 93.52 | 235.76
Total | 11 | 100 | 181 | 167 | 421
Notes:
The top table is from Bloomberg's New Energy Outlook, 2017 Data Viewer version 1.06 from November, 2017. New Energy Outlook includes current policies and economic trends in their forecast, but does not include any commitments for which there is no regulatory mandate (i.e., NDCs). Since this source is behind a paywall, we have also included some second hand data sourced to BNEF for comparison. Finally, we have also included projections from the International Renewable Energy Agency (IRENA) http://www.irena.org/publications/2017/Oct/Electricity-storage-and-renewables-costs-and-markets.

## Calculations
| 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
BNEF, small-scale batteries | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
BNEF, utility-scale batteries | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3
We have no strong reason to prefer one source or one battery scale over
another, and the values are quite close in any case, so we take a simple
average.
Grid Battery Hours per Day
2.4

## GBEtPR
Grid Batteries
Energy to Power Ratio | 2.4